## Specifications
Specification | Value
Processor family | Intel® Core™ i5
Processor specification | 1145GRE (1.5 GHz)
Cooling method | Passive cooling (fanless)
Memory | 32 GB RAM (non ECC)
Storage | 512 GB SSD 3DTLC
Operating system | Windows 11 IoT Enterprise 2024 LTSC - 64 bit
Expansion slot | 1 PCIe + 2 drive slots, Hardware RAID
Modular port | NYML
Communication port(s) | EtherNet/IP, Ethernet TCP/IP, USB
Max. number of motion axes | 0
Video output | DisplayPort++
Material housing | Aluminium, black
Degree of protection (IP) | IP20
Operating temperature | 0-55 °C
Supply voltage DC | 20.4-28.8 V
Product Height (unpacked) | 73 mm
Product Width (unpacked) | 282 mm
Product Depth (unpacked) | 195 mm
Product Weight (unpacked) | 0 g

## Accessories
Product | Description
FH-VUAB 2M | Vision system accessory FH USB cable touch panel 2 m
FH-VUAB 5M | Vision system accessory FH USB cable touch panel 5 m
NY000-AB01 | Wall mount bracket for Box PC
S8BA-24D24D240LF | UPS, DIN rail type, DC-DC, 10A, 240W
S8BW-C02 | UPS Connection cable (CONTACT)

## Spare parts
Product | Description
NY000-AK00 | Spare part accessory kit (connectors, drive bracket, screws, etc)

## Link
https://industrial.omron.fi/fi/products/NYB65-526H6